## Sheet1
Eco-$mart, Inc.
4411 Bee Ridge Rd. #344
Sarasota, FL 34233
888-329-2705
www.eco-smart.com
Building Energy Efficiency Cost / Benefit Analysis
Eco-AirSaver Air Conditioning Retrofit
Job Name:
Melded kWH Rate: |  |  | 0.12
$$$ Saved = Electric savings
Proposed: Install Eco-AirSaver into a 10 Ton A/C Unit
Retrofit Costs and Savings:
Total A/C | kW/ | Ann. Hrs. | Current | Current | New kW/ | Ann. Hrs. | New | New | kWH | Ann. $$ | Est. Retro | Payback | Annual
Tons. | Ton-Hr | Used | kWH | Ann. Cost | Ton-Hr | Used | kWH | Ann. Cost | Saved | Saved | Cost | (yrs.) | % ROI
10 | 1.5 | 3000 | 45000 | 5400 | 1.2 | 3000 | 36000 | 4320 | 9000 | 1080 | 1500 | 1.3889 | 72%
Notes | The above analysis represents the costs and savings associated with retroffitting the
existing air conditioning unit(s) with the Eco-AirSaver electronic A/C control system.
Current condensers are estimated to be operating at 8 EER (1.5 kW per Ton-Hr). By installing
Eco-AirSaver, the estimated performance will be 20% lower energy use, or 10 EER (1.2 kW per Ton-Hr).
The retrofit is estimated to pay for itself in energy savings 1.39 years, equal to an
annual return on investment (ROI) of 72 percent.
The Eco-AirSaver system works on the principal of reducing compressor run time when the
evaporator is fully charged, which means that the compressor runs fewer hours per day, month
and year. This would be expected to have the effect of extending the life of the compressor.
Please let us know how we can be of service.
Call 888-329-2705 for more information, or visit us on the web at www.eco-smart.com