Lamp Dimension Terminology

(For reference: 1mm = 0.3937 inches.  mm x 0.04 is a good estimator)

Screw Bases:

E12 (candelabra base) – Base has a diameter of 12mm

E26 (medium base) – Base has a diameter of 26mm

E39 (mogul base) – Base has a diameter of 39mm

Lamp Sizes

PAR30 (Parabolic Aluminized Reflector) – Lamp (not base) has a diameter of 30 x 1/8” = 3 ¾”

R30 (Reflector Lamp) – Lamp (not base) has a diameter of 30 x 1/8” = 3 ¾”

All PAR and R lamps have a diameter of the number (such as PAR20) x 1/8”.

Below are links to more details on incandescent and fluorescent lamp specifications / terms:

Incandescent:

Bulb Shapes: http://www.elightbulbs.com/pics/search_help_incandescent_bulb_types.jpg

Definitions: http://www.horrorseek.com/home/halloween/wolfstone/Lighting/litinc_IncandescentLampSpecs.html

Fluorescent:

http://www.lightsearch.com/resources/lightguides/cfllampid.html

PL Fluorescent (G24, e.g.) http://www.nolico.com/saveenergy/pl_lamp_base_types.htm