Site Survey Checklist

1. Total kWh usage in previous 12 months?

2. Ground mount or roof mount?

3. Roof facing?

4. Roof material?

5. Roof dimensions and slope?

6. Does the customer want performance monitoring?

7. In what town & state is the project located?

8. Timeframe of the project?

9. Is the system 240 Vac or 208 Vac (commercial)?

9b (outside U.S.) Is the system 50 or 60 hz?

10. Are their any shading issues?

11. Approx. how high is the roof from the ground?

12. If batteries, how many amp hours?