## Sheet1
Eco-$mart, Inc.
4411 Bee Ridge Rd. #344
Sarasota, FL 34233
888-329-2705
www.eco-smart.com
Building Energy Efficiency Cost / Benefit Analysis
Job Name: Tervis Tumbler
Melded kWH Rate: |  |  | 0.1003
$$$ Saved = Electric savings
Proposed: Retrofit the 91Tons of air-cooled A/C condensers with Demand Buster Water-Cooled System
Retrofit Costs and Savings:
Total A/C | kW/ | Ann. Hrs. | Current | Current | New kW/ | Ann. Hrs. | New | New | kWH | Ann. $$ | Est. Retro | Payback
Tons. | Ton-Hr | Used | kWH | Ann. Cost | Ton-Hr | Used | kWH | Ann. Cost | Saved | Saved | Cost | (yrs.)
91 | 1.7 | 2500 | 386750 | 38791.025 | 1 | 2500 | 227500 | 22818.25 | 159250 | 15972.775 | 33449 | 2.0941
Notes | The above analysis represents the costs and savings associated with retroffitting the thirteen
existing air-cooled a/c condensers with the Demand Buster water-cooled system. Current
condensers are estimated to be operating at 7 EER (1.7 kW per Ton-Hr). By installing the
Demand Buster system, the estimated performance will be 12 EER (1.0 kW per Ton-Hr).
The retrofit is estimated to pay for itself in energy savings just over two years, equal to an
annual return on investment (ROI) of over 47 percent.
The Demand Buster system works on the principal of lowering the refrigerant temperature prior
to the compressor, reducing the work required by the compressor. This would be expected to
have the effect of extending the life of the compressor, in addition to saving energy.
Please let us know how we can be of service.
Call 888-329-2705 for more information, or visit us on the web at www.eco-smart.com