BID REQUIREMENTS

SECTION I

Street/Roadway Lighting Specification and Bidder Mandatory Requirements

Mandatory requirement 1:

Bidder must identify the type of lighting technology they are proposing (Must be Induction):

- Induction________

Mandatory requirement 2:

Bidder must identify if they are (check off):

- Dealer/Distributor_____

- Manufacturer_________

Mandatory Requirement 3:

Bidder can submit only 1 (one) proposal/brand and must identify the line/brand/manufacturer/name)

- Induction_____________________

Mandatory Requirement 4:

Bidder must provide product cut sheets/specs sheets for each lighting technology they are proposing. Confirm included.

RESPONSE: YES OR NO__________

Mandatory Requirement 5:

Light source efficiency must be 80 lumens per watt or greater

RESPONSE: YES OR NO __________

Mandatory Requirement 6:

Light source must have a color rendering index of 85 or greater.

RESPONSE: YES OR NO

Mandatory Requirement 7:

Fixtures must have an integrated occupancy sensor that will automatically reduce power by a minimum of 50 % upon a maximum vacancy of 30 minutes and automatically return to 100% power upon occupancy.

RESPONSE: YES OR NO___________

Mandatory Requirement 8:

Fixtures that have access to daylight will include a photocell that will automatically turn off the fixture during daylight hours.

RESPONSE: YES OR NO__________

Mandatory Requirement 9:

The luminaries must be tested and certified to UL1598 for wet/damp location as appropriate.

RESPONSE: YES OR NO__________

Mandatory Requirement 10:

Light source ballast or drive electronics must be rated FCC Class A compliant.

RESPONSE: YES OR NO_________

Mandatory Requirement 11:

Lighting fixture must include a refractor, lens or optical control media for glare control.

RESPONSE: YES OR NO_________

Mandatory Requirement 12:

Fixture housing must be manufactured with UV resistant, glass filled poly-carbonate. As well as contain die cast aluminum heat sync.  Fixture must contain an acrylic lens, as well as an anodized aluminum reflector.

RESPONSE: YES OR NO________

Mandatory Requirement 12:

Fixture must provide a medium throw, Type III distribution and also meet dark sky compliance regulations of at least semi-cutoff.

RESPONSE: YES OR NO________

Mandatory Requirement 13:

Manufacturer must provide a warranty for at least 10 years or 60,000 hours (whichever comes first) for the lighting system (inclusive of all components)

RESPONSE: YES OR NO___________

SECTION II

Mandatory Requirement 1-1:

Manufacturer must have at least five years experience in the production of exterior lighting fixtures for outdoor applications. Provide 2 examples of where your fixtures have been or will be installed in an outdoor environment (any size project)

Example 1:	Company Name________________________________

Address:______________________________________

Contact Person:________________________________

Title:_________________________________________

Phone Number:________________________________

Number of Lighting Fixtures Provided:______________

Dates of projects:______________________________

Example 2:	Company Name________________________________

Address:______________________________________

Contact Person:________________________________

Title:_________________________________________

Phone Number:________________________________

Number of Lighting Fixtures Provided:______________

Dates of projects:______________________________

Mandatory Requirement 1-2:

Fixture must comply with North American Free Trade Agreement and be NAFTA Certified

Component Name (Housing):

- Name and state/country of origin_________________________

- Years in business_______________________________________

- Fixture model number offered in bid_______________________

Component Name (Lens):

- Name and state/country of origin_________________________

- Years in business_______________________________________

- Fixture model number offered in bid_______________________

Component Name (Reflector):

- Name and state/country of origin_________________________

- Years in business_______________________________________

- Fixture model number offered in bid_______________________

2) List manufacturer of final assembly (finished products):

a. Name and address and state/country of origin __________________________

b. Years in business _________________________________________________

If more than one company is involved, list all.

3) List manufacturer of occupancy sensor and photocell/generator/power coupler/lamp:

a. Name and address and state/country of origin___________________________

b. Years in business _________________________________________________

If more than one company is involved, list all.

4) Include warranty for finished product.